Polypropylene filter cartridges

| Indicators | Requirements for regulatory documents |
| --- | --- |
| Model | DOE (double sided) 5 µm |
| Material | polypropylene metlblown |
| Overall dimensions: - length - external Diametr - internal diameter | 1016 мм 65 мм 28 мм |
| Degree of purification, throughput | 1-50 microns |
| Operating temperature | 45 оС |
| Working pressure | 8 бар |
| Qty | 1632 pcs |

Flow rate 30m3/hour